## Sheet1
| Nucleic Acid Amplification Tests |  |  |  | Accuracy Tool - 5
| AccuProbe® | Amplified Mycobacteria tuberculosis (MTD®) Direct | Cepheid GeneXpert® MTB/RIF | GenoType MTBDRplus® | Laboratory Developed Test (LDT)
Company | Gen-Probe, Inc | Gen-Probe, Inc | Cepheid | Hain Lifescience | Not Applicable
Nucleic Acid Amplification? | No | Yes | Yes | Yes | Yes
Identification of MTBC from culture isolates | Yes | No | No | Not usually | Sometimes
Detection of MTBC in clinical specimens | No | Yes | Yes | Yes | Yes
Detection of mutations associated with drug resistance | No | No | RIF | RIF, INH | RIF, others depending on platform
Genes associated with drug resistance detected | None | None | rpoB | katG, inhA, rpoB | rpoB, others depending on platform
Mechanism | No amplifcation; DNA probe hybridizes to a specific ribosomal RNA target. | Transcription Mediated Amplification (TMA) to amplify the ribosomal RNA target followed by DNA probe hybridization to detect the amplified target. | Real time polymerase chain reaction (PCR) and molecular beacon technology to simultaneously amplify and detect the rpoB gene. | Polymerase chain reaction (PCR) to amplify the genes followed by hybridization to specific probes on nitrocellulose strips (line probe assay). | Various methods including PCR, real time PCR, "molecular beacons," DNA sequencing.
FDA approved | Yes | Yes | Yes (cleared) | No | No
Turn-around time from specimen receipt in lab | Requires growth in culture | 24-48 hrs | 24-48 hrs | 24-48 hrs | 24-48 hrs
Common name | Probe, DNA probe | MTD, "Direct test," often mistakenly called "probe" | GeneXpert, Xpert | The "Hain test" Line Probe Assay (LPA) | "Home brew," molecular beacons, PCR
How reported: Examples
Positive result |  | ● Detected ● Positive ● Positive for M. tuberculosis complex rRNA | MTB Detected; Rif Resistance Detected/ Rif Resistance Not Detected | ● Point mutation detected
Negative result |  | ● Not Detected | MTB Not Detected | ● No point mutation detected
RVCT item | 18 - Sputum Culture | 21 - Nucleic Acid Amplification (NAA) Test Result | 21 - NAA | 21 - NAA | 21 - NAA