## Culture-based DST
Accuracy Tool - 6
Culture-Based (Phenotypic) Laboratory Tests for Drug Susceptibility Testing
Characteristics | Method
| Method | MGIT 320 or 960 | VersaTrek | Indirect Agar Proportion | Trek Sensititre
Company | Becton Dickinson | Becton Dickinson | Thermoscientific | Not Applicable | Thermoscientific
Frequency of use for drug susceptiblility testing (DST) | No longer available (few labs using remaining stock) | Most common DST method in U.S. for first-line drugs | <10% of labs performing DST use this method | Used primarily by reference labs | Not commonly used
Media | Liquid broth | Liquid broth | Liquid broth | Solid | Liquid broth
Format | Tube | Tube | Tube | Petri plate | 96-well microtitre plate
Results: ● Resistant ● Susceptible or ● Minimum Inhibitory Concentration (MIC) | Usually ● Resistant ● Susceptible (National Jewish reported MICs) | Usually ● Resistant ● Susceptible (very few labs might report MIC for some drugs) | ● Resistant ● Susceptible | Usually ● Resistant ● Susceptible | MIC (laboratory might provide interpretive criteria of Resistant or Susceptible)
Drugs | Isoniazid (INH), Rifampin (RIF), Pyrazinamide (PZA), Ethambutol (EMB), Streptomycin (STR) | INH, RIF,PZA, EMB, STR (some labs might not test STR or PZA) | INH, RIF, PZA, EMB | Varies depending on lab but can include first-lines (except PZA) and second-line drugs | INH, RIF, EMB, STR, Rifabutin, Ethionamide, Amikacin, Kanamycin, Ofloxacin, Moxifloxacin, Cycloserine, Para-Amino Salicylic Acid
Concentrations tested | Generally one critical concentration for each drug with exception of INH (2 concentrations) | Generally one critical concentration for each drug with exception of INH (2 concentrations) | Generally one critical concentration for each drug with exception of INH (2 concentrations) | Generally one critical concentration for each drug with exception of INH and some second-line drugs (e.g., moxifloxacin) | 6-8 different concentrations of each drug for determining MIC
FDA approved | Yes | Yes | Yes | No (laboratory developed test) | No (research use only)
Expected turn-around time (TAT) | Typically within 5 weeks of specimen receipt | Typically within 5 weeks of specimen receipt | Typically within 5 weeks of specimen receipt | Longer TAT than broth-based methods | Within 10-21 days of incubation
Common name | 460 | MGIT | Trek | Agar proportion | Sensititre
RVCT item* | 40 -Initial DST results, 49 - Final DST results |  |  |  | Resistant or Susceptible**
RVCT result | Resistant, Susceptible, Unknown, or Not Done |  |  |  | Resistant or Susceptible**
* RVCT Definition for Drug Susceptibility Results: Record the results of initial (for initial DST result) drug susceptibility testing on the first specimen and on the final specimen (for final DST) on which drug susceptibility testing was performed. Report results from conventional DST only. Do not report rapid DST test results (molecular beacon, molecular line probe assays, or other molecular tests). ** Report resistant or susceptible according to the laboratory report. Do not report if reported as MIC only.