## Molecular-based DST
Accuracy Tool - 7
Molecular-Based Laboratory Tests for Detecting Mutations Associated with Drug Resistance
Characteristic | Method
| GeneXpert® MTB/RIF | HAIN Genotype® MTBDRplus | Sanger Sequencing | Pyrosequencing
Company | Cepheid | HAIN Lifescience | Not Applicable (N/A) (laboratory developed test) | N/A (laboratory developed test)
Frequency of use | Platform widely available- broad use possible | Not common | Method for CDC MDDR service- Not commonly used- performed by small number of PHL | Method for CDC MDDR service- Not commonly used- performed by small number of PHL
Genetic loci | rpoB (for RIF) | rpoB (RIF), katG (INH), and inhA (INH) | Varies but can include rpoB, inhA, katG, aphC, embB (EMB), pncA (PZA), gyrA (FQ), and rrs (injectables) | Varies but can include rpoB, inhA, katG, aphC, gyrA, and rrs
Format | Semi-automated real-time PCR | Line probe assay | DNA sequencing | DNA sequencing
Results | ● Rif resistance detected ● Confirmation of rifampin resistance pending ● Rif resistance not detected | ● Likely mutation detected ● Mutation not detected for each locus | Can vary ● Typically nucleotide sequence indicating mutation (with amino acid change if applicable) ● Wild-type (no mutation) | Can vary ● Typically nucleotide sequence indicating mutation (with amino acid change if applicable) ● Wild-type (no mutation)
FDA approved | Yes | No | N/A (laboratory developed test) | N/A (laboratory developed test)
Expected turn-around time from specimen receipt in laboratory | 1-2 working days | 1-2 working days (depends on how often performed in lab) | 1-2 working days (depends on how often performed in lab) | 1-2 working days (depends on how often performed in lab)
Common name | Cepheid, Xpert, MTB/RIF | HAIN, Heinz | MDDR, sequencing, Molecular DST | Pyro, sequencing
RVCT item | Not Collected
RVCT result | Not Collected